## Slide 1: CSI 201 Skills Lab 4
Airway Management /
O2 Delivery Devices / Nasogastric Tube (NGT)
Daryl P. Lofaso, Ph.D., M.Ed., RRT

## Slide 2: Overview of the Digestive System

## Slide 3: Indications for Naso-Oral Gastric Tube Intubation (NGT)
Decompression
    removing gaseous and liquids in GI
Compression
    applying pressure (esophageal varicies)
Gavage
    feeding
Lavage
    wash out stomach
Gastric Analysis
    laboratory examination of stomach content

## Slide 4: Measurement of NGT: Insertion Distance

## Slide 5: NGT Insertion Recommendations:
Advance the tube when patient swallows
Stop if there is marked resistance. DO NOT FORCE.
Excessive gasping or coughing or cyanosis; tube may be in the trachea

## Slide 6: Airway Anatomy

## Slide 7: Indications for Artificial Airways
To relieve airway obstruction
To facilitate removal of secretions
To protect the lower airways for aspiration
To facilitate the application of positive pressure ventilation

## Slide 8: Oral Airway Placement

## Slide 9: Bag-Valve-Mask (BVM) Ventilation

## Slide 10: BVM Failure
Air leak
  Improper mask size
  Poor contact points – nasal bridge, malar eminence, mandible
Airway obstruction
  Head and neck positioning
  Tongue

## Slide 11: Intubation Equipment

## Slide 12: Types of Artificial Airways
Oral ET tube
    Quickest and easiest to place
    Offers less resistance the Nasal ET (shorter)
    Discomfort & gagging common
    Accidental extubation
    Oral hygiene is difficult

## Slide 13: Types of Artificial Airways (cont.)
Nasal ET tube
    More difficult to insert the oral ETT
    Blind insertion
    More stable and better oral hygiene
    May cause necrosis of nasal septum, turbinates and external meatus
    May block sinuses or eustachian tubes causing otitis media or sinusitis

## Slide 14: Types of Artificial Airways (cont.)
Tracheostomy tube
    Most efficient airway (↓ WOB)
    Device of choice for airway obstruction and trauma
    Allows oral feeding
    Requires surgery - Invasive
    Indications for prolonged artificial airway
    Complications - hemorrhage, scarring, greater bacterial colonization rate

## Slide 15: Airway Assessment Mallampati Classification
Class I: soft palate, fauces,
uvula, pillars
Class II: soft palate, fauces,
  portion of uvula
Class III: soft palate, base of
  uvula
Class IV: hard palate only

## Slide 16: Indications for Intubation
Cardiac arrest – Respiratory arrest
Inability to ventilate
Inability for patient to protect airway
Inability for rescuer to ventilate unconscious patient (BVM)

## Slide 17: Endotracheal Intubation

## Slide 18: Confirmation of ET Placement
Visualization
Auscultation
ETCO2
Chest X-ray (CXR)

## Slide 19: Respiratory Failure
Inability to remove CO2 and deliver O2 to the pulmonary capillary bed
Acute or Chronic
Two main groups
  Hypoxia respiratory failure
  Hypercapnic-hypoxic respiratory failure

## Slide 20: Symptoms of Hypoxia
Tachypnea
Tachycardia
Anxiety
Alterations in BP
Confusion
Somnolence

## Slide 21: Symptoms of Hypercapnia
Restlessness
Tremor
Slurred speech
Lethargy
Somnolence
Coma

## Slide 22: Signs of Impending Respiratory Failure
Respiratory rate > 35
PaO2 < 55 on FiO2 > 50%
Hemodynamic instability

## Slide 23: Infections
Endotracheal intubation and tracheostomy are the major risk factors for nosocomial Lower Respiratory Infections (LRI).
Nosocomial LRIs are the most dangerous of nosocomial infections with a case fatality rate of 30%.

## Slide 24: Infections
Stethoscopes have been shown to be colonized by bacteria in research studies. Over 80% of stethoscopes examined in one study were colonized by microbacteria, the majority of which was Methicillan-resistant Staph aureus (MRSA), and physician’s stethoscopes were proven to be the most contaminated.

## Slide 25: Prevention of Nosocomical Infections
Hand washing, barrier isolation materials, and decontamination of respiratory equipment can prevent Nosocomial LRI.